## Slide 1
Phase-integrated
optical volume
Physics-Aware Phase
Consistency Loss
1. QPI preprocessing
2. Frozen encoder + LoRA
3. Trainable decoder
4. Physics-aware loss
5. Quantitative readout
Reconstructed phase
(Single channel, radians)
EdgeSAM (RepViT)
MobileSAM (TinyViT)
MobileNet-UNet (MobileNetV2)
Pretrained weights held fixed
LoRA adapters in encoder attention
and convolutional bottleneck layers
Frozen W
+
B
A
=
Adapted W′
W′ = W + () BA, r = 8
Dice
Class-weighted overlap
Geometric localisation
Total = Dice +PMC
+ BGA + IPP
standardise
Normalised input
(Matched to RGB
Pretraining statistics)
Frozen
Frozen lightweight encoder
Fully trainable
Ttrainable
1-Channel stem
Normalisation
Parameters
Decoder
Head
5-Class prediction M
0
1
2
3
4
Background Discocyte Echinocyte
PMC
Phase-mask contrast
Cell phase > background
= 0.10
BGA
Boundary-gradient alignment
Contour on ridge
= 0.05
IPP
Integrated-phase preservation
Conserves optical mass
= 0.10
Projected area
Circularity
Phase-integrated optical quantity
Dry mass
Raw unnormalised phase (radians) bypasses normalisation and supervises the loss
Gradients update LoRA adapters, Stem, Normalisation and head only
Trainable (8.90% of parameters)
Spherocyte Stomatocyte
6.3
0
-2.5
3
0
-3
high
low
d × r
r × k
Figure 1

## Slide 2
Figure 1 Objects

## Slide 3
Figure S-4
20 μm
Raw Quantitative Phase Map (rad)
20 μm
Phase Gradient Magnitude
20 μm
Predicted Contour Alignment
Panel image 1536 × 1536 px, upsampled 2× from the 768 × 768 px source array.
Pixel pitch 0.1441 μm/px, so one panel spans 768 × 0.1441 = 110.67 μm.
Panel placed on this slide at 8.5178 × 8.5178 cm.
Scale bar 20 μm = 20 / 110.67 = 18.07 % of panel width = 8.5178 × 0.1807 = 1.5393 cm.

## Slide 4
Figure 6
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
20 μm
Panel image 1536 × 1536 px, upsampled 2× from the 768 × 768 px source array.
Pixel pitch 0.1441 μm/px, so one panel spans 768 × 0.1441 = 110.67 μm.
Panel placed on this slide at 5.0726 × 5.0726 cm.
Scale bar 20 μm = 20 / 110.67 = 18.07 % of panel width = 5.0726 × 0.1807 = 0.9167 cm.

## Slide 5
Figure 11
Storage Lesion Timeline: RBC Morphology Degradation Over Storage
20 μm
Day 0
20 μm
Day 8
20 μm
Day 19
20 μm
Day 27
20 μm
Day 47
20 μm
20 μm
20 μm
20 μm
20 μm
Panels are grey placeholders: the dataset needed to render them is not in the project.
Panel image 1536 × 1536 px, upsampled 2× from the 768 × 768 px source array.
Pixel pitch 0.1441 μm/px, so one panel spans 768 × 0.1441 = 110.67 μm.
Panel placed on this slide at 5.0726 × 5.0726 cm.
Scale bar 20 μm = 20 / 110.67 = 18.07 % of panel width = 5.0726 × 0.1807 = 0.9167 cm.